Ms. E. McMillan

1142-1150 Chestnut St.

Menlo Park, Ca 94025

28 January 2020

City of Menlo Park Mayor and City Council Members

Cc: K. Meador, Senior Planner, City of Menlo Park

Dear Mayor and City Council Member,

My family owns the building directly across Chestnut Lane that will be most affected by this proposed redevelopment. We appreciate the efforts that Mr. Oros, his second architect, the Planning Commission, and the City have taken to mitigate many of the impacts on our building by addressing the concerns we voiced at the three previous project review meetings (12/17 & 9/18 & 12/19).

We feel that a few concerns remain unaddressed.

● The construction plans as submitted by the contractor of this proposed project show the construction site access as being at the location of the future garage opening on Chestnut Lane, see CP-1. This suggests that heavy construction equipment will use Chestnut Lane and the parking lot for site access.

Furthermore, CP-2 through 4, and CP-8, indicate shoring and a fence that will narrow Chestnut Lane width to less than the 25 feet required for fire truck access, causing a potential fire access problem for our building during construction.

We feel that the combination of a narrow lane and construction traffic on Chestnut Lane will present a hazard to our building, our tenants and their clients, as well as pedestrians using the sidewalk on our side of Chestnut Lane.

○ We request that the construction plan require that Chestnut Lane not be used for access to the site or for the staging of construction equipment including but not limited to excavation equipment, dump trucks, supply trucks, or deliveries.

● After construction is completed, the restaurants and multiple tenants can be expected to receive frequent daily deliveries including but not limited to business and personal parcel services, restaurant supply trucks, etc. While there is frequent mention in the documents of an area for pick up and deliveries there is no designated parking space on the ground

floor for this activity.

○ To avoid misuse of the red-curbed Chestnut Lane by delivery vehicles, a

short-term pick-up and delivery parking space should be designated on Chestnut Street close to the lobbies for trucks and delivery vans like UPS and FedEx.

We appreciate all your efforts in ensuring that this development will serve Menlo Park and it’s residents, the neighboring property owners and their tenants, as well as the developer and

future occupants, for years to come.

Sincerely,

(Signed) E. McMillan